## Slide 1: Anticoagulation in Hemodialysis
Dr Reyhane Motamedi fard
Assistant Professor of Nephrology
Isfahan University Of Medical Sciences

## Slide 2: Introduction
During hemodialysis, the patient’s blood is continuously exposed to an extracorporeal circuit (blood tubing + dialyzer + access lines)
Thrombus formation may cause occlusion and malfunction of the extracorporeal circuit

## Slide 3: Mechanisms
The main mechanisms causing clot formation include
Contact activation of coagulation factors by artificial surfaces
Platelet activation
Thrombin generation
Reduced blood flow inside the circuit
Blood-air interfaces
Inadequate anticoagulation

## Slide 4: USE OF ANTICOAGULANTS DURING DIALYSIS
When no anticoagulant is used, dialyzer clotting rate during a 3- to 4-hour dialysis session is substantial (5%-10%)
Results in
  loss of the dialyzer and blood tubings
  loss of approximately 100 to 180 mL of blood
  Reduced dialysis efficiency
  Need for circuit replacement
Therefore, anticoagulation aims to maintain circuit patency while minimizing bleeding risk

## Slide 5: Factors Increasing Anticoagulant Requirement
Patients who may clot the circuit easily
High hematocrit
Low blood flow rate
Catheter dialysis access
Frequent interruptions
Long dialysis sessions
Hypercoagulable states
Inadequate anticoagulant dose

## Slide 6: Factors Decreasing Anticoagulation Requirement
Recent surgery
Active bleeding
Thrombocytopenia
Liver disease with coagulopathy
Elderly/frail patients

## Slide 7: USE OF ANTICOAGULANTS DURING DIALYSIS
Heparin remains the most common anticoagulant
In the United States, UFH is mostly used, whereas in the European Union, LMWH is the anticoagulant of choice
Alternative anticoagulants :
  Trisodium citrate
  Direct thrombin inhibitors such as argatroban
  heparinoids (danaparoid, fondaparinux)
  prostanoids
  nafamostat mesylate

## Slide 9: Unfractionated Heparin
Mechanism of action
UFH binds to antithrombin (ATIII)
This inhibits:
Factor Xa
Factor IIa (thrombin)

## Slide 10: Unfractionated Heparin
↓ thrombin generation
↓ fibrin formation
↓ clot formation

## Slide 11: Unfractionated Heparin Advantages:
Rapid onset
Short half-life
Easily reversible

## Slide 12: Unfractionated Heparin
Target clotting times
The goal is to maintain ACT at 180% of the baseline during most of the dialysis session
At the end of the session, the clotting time should be shorter (140% baseline for ACT) to minimize the risk of bleeding after withdrawal of the access needles

## Slide 13: Unfractionated Heparin Elimination
Mainly through reticuloendothelial system
Some renal contribution
UFH is generally preferred in:
ESRD
High bleeding risk patients
Patients needing rapid reversal

## Slide 14: UFH Dosing Strategies in Hemodialysis
A) Initial bolus + continuous infusion
Common approach:
Initial bolus
  25–100 units/kg IV at initiation
Maintenance infusion
  Approximately 500–1500 units/hour
The infusion is usually stopped:
  30–60 minutes before the end of dialysis

## Slide 15: UFH Dosing Strategies in Hemodialysis
B) Intermittent bolus regimen
Initial bolus before dialysis
Additional doses every 1–2 hours
Used in some centers because:
  Easier administration
  Less pump management

## Slide 16: Routine UFH single-dose-only or repeated bolus method
Administer the initial bolus dose (eg, 4,000 IU)
Then give an additional 1,000 to 2,000 IU bolus if necessary
Those centers that reuse dialyzers tend to use more UFH in order to maximize reuse number
Some centers give only a single initial dose (eg, 2,000 IU) of UFH, with no subsequent infusion or boluses

## Slide 17: Dosing Strategies in Hemodialysis
The tight heparin prescription UFH
Initial bolus dose = 750 IU UFH
Recheck WBPTT or ACT after 3 minutes
Start dialysis and UFH infusion at a rate of 600 IU/h
Monitor clotting times every 30 minutes
Adjust the UFH infusion rate to keep WBPTT or ACT at 140% baseline
Continue UFH infusion until the end of the dialysis session

## Slide 19: Monitoring UFH
Routine laboratory monitoring is often not required in standard HD
Assessment is mainly clinical:
  Signs of excessive anticoagulation:
    Prolonged bleeding from needle sites
    Access bleeding
    Hematoma

## Slide 20: Signs of inadequate anticoagulation:
Visible clots in circuit
Dark streaks in dialyzer fibers
Increasing venous pressure

## Slide 21: Effect of body weight on the size of the UFH dose
Although the volume of distribution of heparin has been found to increase as body weight rises many dialysis centers do not regularly adjust heparin dosage in accordance with body weights ranging between 50 and 90 kg.

## Slide 22: Effect of prescription of oral anticoagulants on the heparin dose
Increasing numbers of older patients are prescribed coumarin oral anticoagulants, and newer oral anti-Xa inhibitors (apixaban, rivaroxaban).
Hemodialysis reduces the plasma concentration of dabigatran, while rivaroxaban and apixaban cannot be eliminated by dialysis

## Slide 23: Effect of prescription of oral anticoagulants on the heparin dose
Most patients on coumarin anticoagulants with :
  (INR) of less than 2.5 still require anticoagulation for dialysis
  With metallic heart valves who have INR values greater than 3.0 typically do not require heparin
Patients prescribed aspirin and other antiplatelet agents also require standard heparin dosages
Heparin doses should be reduced or withheld in patients with thrombocytopenia (<50,000 × 106/L)

## Slide 24: Unfractionated Heparin
Side effects of heparin :
Pruritus
Allergy including anaphylactoid reactions
Alopecia
Osteoporosis
Hyperlipidemia
Thrombocytopenia
Excessive bleeding

## Slide 25: HIT
There are two types of HIT
In type 1 HIT, the reduction in platelet count occurs in a time- and dose-dependent manner and responds to a reduction in heparin dose.
In type 2 HIT, there is agglutination of platelets and paradoxical arterial and/or venous thrombosis.

## Slide 26: Heparin-Induced Thrombocytopenia (HIT)
Mechanism:
  Heparin + PF4
  → antibody formation
  → platelet activation
  → thrombosis
Features:
  Platelet count reduction
  New thrombosis
  Circuit clotting despite heparin

## Slide 27: Management HIT
STOP:
  UFH
  LMWH
Alternative anticoagulants:
  Argatroban
  Direct thrombin inhibitor
Advantages:
  Hepatic clearance
  Useful in renal failure

## Slide 28: HIT
LMWH should not be used cross-reactivity of the heparin-platelet factor 4 antibodies
  The alternative anticoagulants of choice include the direct thrombin inhibitor argatroban and the heparinoids danaparoid and fondaparinux
Warfarin should only be introduced once the platelet count has recovered to greater than 150,000 × 106/L, as it may lead to skin necrosis and venous limb gangrene

## Slide 29: Pruritus
Heparin can cause local itching when injected subcutaneously, and it has been speculated that heparin may be the cause of itching and other allergic reactions during dialysis
LMWH has been used to treat the itching associated with lichen planus, on the basis of inhibition of T-lymphocyte heparinase activity
There is no evidence that removal of heparin from the extracorporeal circuit reliably improves uremic pruritus

## Slide 30: Hyperkalemia
Heparin-associated hyperkalemia, attributable to heparin-induced suppression of aldosterone synthesis
In patients with oliguria undergoing dialysis, it has been speculated that aldosterone might still aid potassium excretion via a gastrointestinal mechanism

## Slide 31: Low Molecular Weight Heparins (LMWH)
Enoxaparin
Dalteparin
Tinzaparin
Mechanism
  LMWH mainly inhibits:
  Factor Xa > Factor IIa
Compared with UFH:
  More predictable anticoagulant response
  Less platelet activation
  Less monitoring requirement

## Slide 33: Advantages of LMWH in Hemodialysis
Single injection before dialysis
Less nursing workload
Stable anticoagulant effect
Lower risk of HIT
Reduce the risk of heparin-induced osteoporosis

## Slide 34: Limitations of LMWH
Because LMWH is partly cleared by kidneys:
In ESRD:
  Half-life may increase
  Accumulation may occur
Caution in:
  Frequent dialysis
  Prolonged bleeding
  High bleeding risk

## Slide 35: High Bleeding Risk Patients
Active gastrointestinal bleeding
Recent surgery
Intracranial bleeding
Severe thrombocytopenia
Recent invasive procedure

## Slide 36: Bleeding complications of routine heparinization
The risk of increased bleeding due to systemic anticoagulation is 25% to 50% in high-risk patients
De novo bleeding can involve the central nervous system, retroperitoneum, and mediastinum
The tendency to bleed is potentiated by uremia-associated defects in platelet function and possibly by endothelial abnormalities

## Slide 37: Anticoagulation in High Bleeding Risk Patients Options:
A) Heparin-Free Hemodialysis
B) Regional Citrate Anticoagulation (RCA)

## Slide 38: Heparin-Free Hemodialysis
No anticoagulant is used
Methods:
Frequent saline flushes
High blood flow rates Set the blood flow rate to 300 to 400
Minimize circuit interruptions
Advantages:
No systemic anticoagulant effect
Disadvantages:
Higher circuit clotting risk
More nursing workload
Possible blood loss

## Slide 39: Heparin-free dialysis
Heparin-free dialysis is the method of choice in patients who are:
  Actively bleeding
  At moderate to high risk of bleeding
  Use of heparin is contraindicated (eg, heparin allergy)
Careful priming to minimize blood-air interfaces
Platelet activation is reduced by cooling the dialysate

## Slide 41: The heparin-free prescription
Heparin rinse
This step is optional. Avoid if heparin-associated thrombocytopenia is present
Rinse the extracorporeal circuit with saline containing 3,000 IU/L UFH
Allow the heparin-containing priming fluid to drain by filling the extracorporeal circuit with either the patient’s blood or unheparinized saline at the outset of dialysis

## Slide 42: The heparin-free prescription
Periodic saline rinsing
Rinse the dialyzer rapidly with 250 mL of saline while occluding the blood inlet line every 15 minutes
The frequency of the flushes can be increased or decreased as needed
The use of volumetric control is desirable for the accurate removal of volumes of ultrafiltrate equal to those of the administered saline rinses

## Slide 43: Regional Citrate Anticoagulation
Lowering its ionized calcium concentration (calcium is required for the coagulation process).
The extracorporeal blood-ionized calcium level is lowered by infusing trisodium citrate
The process is reversed by infusion of calcium chloride into the dialyzer blood outlet line
About one-third of the infused citrate is dialyzed away, and the remaining two-thirds are quickly metabolized by the patient

## Slide 44: Regional Citrate Anticoagulation
Commonly used in CRRT, but can be used in some HD settings
Mechanism
Citrate binds ionized calcium:
Citrate + Ca²⁺ → citrate-calcium complex
Because calcium is essential for coagulation:
↓ ionized calcium
↓ coagulation cascade activation

## Slide 46: Regional Citrate Anticoagulation
The advantages of regional citrate anticoagulation over heparin-free dialysis are
  (a) The blood flow rate does not have to be high and
  (b) Clotting rarely occurs
This technique is not widely used for intermittent hemodialysis but is more popular for the continuous forms of dialysis therapy

## Slide 47: RCA
Monitoring Requires:
Ionized calcium
Total calcium
Calcium infusion adjustment
Acid-base monitoring

## Slide 48: RCA
Potential complications:
Hypocalcemia
Due to excessive citrate binding
  Metabolic alkalosis
  Citrate is metabolized into bicarbonate
  Citrate accumulation
    Especially in:
    Severe liver failure
    Shock states

## Slide 49: Heparinoids (Danaparoid)
Danaparoid is a mixture of 84% heparin, 12% dermatan, and 4% chondroitin sulfates
Danaparoid predominantly affects factor Xa
The half-life is prolonged in renal failure
In patients weighing more than 55 kg, a 750-IU loading dose
The loading dose can be 500 IU in patients weighing 55 kg or less

## Slide 50: Heparinoids (Fondaparinux)
Fondaparinux do not cross-react with HIT antibodies
A typical predialysis dose is 2.5 to 5.0 mg
Fondaparinux also has an extended half-life
Hemodiafiltration will increase losses of both danaparoid and fondaparinux, and higher dosages may be required

## Slide 51: Thrombin inhibitors Argatroban
Direct thrombin inhibitor
Metabolized in the liver
An initial bolus of 250 mcg/kg followed by an infusion starting at 2 mcg/kg/min, or 6 to 15 mg/h titrated to achieve an APPTr of 2.0 to 2.5.
The infusion should be stopped 20 to 30 minutes prior to the end of the dialysis session
Not significantly cleared during high-flux hemodialysis

## Slide 52: Thrombin inhibitors Lepirudin
Recombinant irreversible thrombin inhibitor
Renally cleared
The loading dose for intermittent hemodialysis ranges from 0.2 to 0.5 mg/kg (5-30 mg).
Targeting a therapeutic range of 0.5 to 0.8 mcg/mL.
Bleeding is a major risk, and there is no simple antidote, so fresh frozen plasma or factor VIIa concentrates may be required
Lepirudin may occasionally cause anaphylactoid reactions

## Slide 53: Bivalirudin
Reversible Direct thrombin inhibitor
Much shorter half-life than lepirudin
Infusion rate is 1.0 to 2.5 mg/h adjusted to achieve a target APPTr of around 1.5 to 2.0.
Used especially in:
  HIT
  Cardiac procedures
Requires dose adjustment in renal dysfunction

## Slide 54: Prostacyclin
Prostacyclin (PGI2) and its analog epoprostenol are potent antiplatelet agents that block cAMP
Although PGI2 is a potent vasodilator, the risk of hypotension can be reduced by starting a systemic infusion at 0.5 ng/kg/min, steadily increasing to 5 ng/kg/min
The half-life is very short

## Slide 55: Nafamostat mesylate
Nafamostat mesylate is a protease inhibitor with a short halflife that can be used as a regional anticoagulant
Using an initial bolus dose of 20 mg, followed by an infusion starting at 40 mg/h, adjusted to maintain a target APPTr of 1.5 to 2.0, or ACT of 140 to 180 seconds.

## Slide 56: Post therapy needle puncture site bleeding
Reevaluation of the UFH dose
The vascular access (graft or fistula) should be reviewed for the presence of outflow stenosis
There should also be an evaluation of the needle insertion technique
Poor technique and failure to rotate puncture sites